| ISO 10993-18: Chemical Characterization Test Article Information Form |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sponsor Information |  |  |  |  |  |
| Company (Study Sponsor): |  |  |  |  |  |
| Primary Contact: |  |  |  |  |  |
| Primary Contact Address: |  |  |  |  |  |
| Email: |  |  |  |  |  |
| Phone: |  |  |  |  |  |
| Device Availability | Select |  |  |  |  |
| Test Article Information |  |  |  |  |  |
| Test Article Name |  |  |  |  |  |
| Test Article Model/Reference ID |  |  |  |  |  |
| Test Article Lot ID |  |  |  |  |  |
| Duration of Patient Contact |  | Select | If Permanent, please list the anticipated life span of typical patient: |  |  |
| Maximum Number of Devices (Patient Exposure) in 1 Day: |  |  |  |  |  |
| Device Physical Description: (Use fields appropriate for device) |  | Surface Area (cm2): |  |  |  |
|  |  | Patient Contacting Surface Area (cm2): |  |  |  |
|  |  | Dimensions (Overall LxWxH) (cm): |  |  |  |
|  |  | Weight (g): |  |  |  |
|  |  | Fill Volume (mL): |  |  |  |
|  |  | Other Information: |  |  |  |
| Thickness of device at thinnest section |  | ☐ <0.5mm ☐ ≥0.5mm |  |  |  |
| Intended Clinical Use |  |  |  |  |  |
| ☐ New Device - Targeted Markets: ☐ EU ☐ US (FDA) ☐ Japan ☐ China ☐ Other: Click or tap here to enter text. ☐ Existing Device (already marketed) - Marketed region(s): Click or tap here to enter text. - New targeted markets: ☐ Yes ☐ No (List: Click or tap here to enter text.) ☐ Raw Material |  |  |  |  |  |
| Purpose for Testing |  | ☐ New Device ☐ Regulatory agency request ☐ Change/Sustaining Engineering ☐ Compliance Gap ☐ Other: Click or tap here to enter text. |  |  |  |
| Development Stage |  | ☐ Pre-Market ☐ Marketed ☐ Material Change ☐ Comparison ☐ Exploratory |  |  |  |
| Biological Evaluation Plan Available |  | ☐ Yes ☐ No |  |  |  |
| Requirement for a referral to a toxicologist |  | ☐ Yes ☐ No |  |  |  |
| Deadlines for Regulatory Submission |  |  |  |  |  |
| Type of Patient Contact |  | ☐ Direct: | ☐ Surface: |  | Select |
|  |  |  | ☐ External Communicating: |  | Select |
|  |  |  | ☐ Implant: |  | Select |
|  |  | ☐ Indirect: (check additional box below if applicable) |  |  |  |
|  |  | ☐ Breathing gas pathway, Dry |  |  |  |
|  |  | ☐ Breathing gas pathway, Contact with condensate |  |  |  |
|  |  | ☐ Other, please describe: |  |  |  |
| Sterilization Technique |  | Select | If Other, please describe: |  |  |
| Storage Conditions |  | Select | If Other Temperature, please specify: Store in Dark: Select |  |  |
| Extractable & Leachable Study Parameters |  |  |  |  |  |
| Special Instructions (Preparation, handling, parts to be removed, etc. Attach documentation as needed.) If parts are to be removed, please describe which parts of the device should be included in the extraction and represent the patient contact surface area reported above. |  |  |  |  |  |
| Can device be cut? |  | Select |  |  |  |
| Are there any known incompatible solvents? |  | ☐ Yes, If yes, please indicate: ☐ No |  |  |  |
| Should a solvent compatibility study be performed? Solvent Compatibility studies are suitable when the devices tolerance to solvent is unknown. This activity mitigates potential delays in the study. |  | ☐ Yes ☐ No ☐ Unknown |  |  |  |
| Should a feasibility study be performed? Feasibility studies are suitable for instances that the method of extraction is unknown or may be complicated. This activity mitigates potential delays in the study. |  | ☐ Yes ☐ No ☐ Unknown |  |  |  |
| Type of Extraction |  | ☐ Exhaustive ☐ Exaggerated ☐ Simulated-Use (Leachables) ☐ Degradation ☐ Kinetic Release ☐ Unknown |  |  |  |
| Requested Extraction Solvents (please list): |  |  |  |  |  |
| Extraction Ratio |  | ☐ 3cm2/mL ☐ 6cm2/mL ☐ 0.2g/mL ☐ 0.1g/mL ☐ Other: Click or tap here to enter text. ☐ Unknown |  |  |  |
| Conditions |  | ☐ (50 ± 2) °C for (72 ± 2) hr ☐ (37 ± 1) °C for (72 ± 2) hr ☐ Other, please specify: ☐ Unknown |  |  |  |
| Dose Base Threshold (DBT) (µg/day) |  | ☐ 1.5 ☐ 10 ☐ 20 ☐ 120 ☐ Other: Click or tap here to enter text. ☐ Unknown |  |  |  |
| Is there a potential for Cohort of Concern Compounds Being Present? |  | ☐ Yes ☐ No If Yes, please list: |  |  |  |
| Packaging Materials (please list): |  |  |  |  |  |
| Processing Aids, Cleaning Agents, Other Materials used in the Manufacturing and Packaging Process (please list): |  |  |  |  |  |
| Are there safety hazards associated with the device (e.g. sharps, drug products?) |  | ☐ Yes ☐ No If Yes, please list: |  |  |  |
| Please provide the following in space below or as separate document(s): - Description of the Materials of Construction (BOM) - Photo and/or Detailed Schematic (Please include scale) - Engineering Report - Instruction For Use - FDA Pre-Submission Feedback |  |  |  |  |  |

Test Article(s) Materials of Construction:                                                             Test Article(s) Photo(s)/Schematic:

| Submitter Name |  |  |
| --- | --- | --- |
| Submitters Signature Date |  |  |

Revision History

| Revision Number | Description of Change | Date (MM/DD/YY) | Approved By |
| --- | --- | --- | --- |
| 22-01 | Add revision table to comply with GMP requirements. | 04/29/22 | Michele Donahue |
| 22-02 | Add “Maximum Number of Devices (Patient Exposure) in 1 Day and “Study Design". | 05/20/22 | Courtney Brummett |
| 23-01 | Added additional questions and information requested regarding submitted samples to gain more information to perform most appropriate E&L study. | 5/11/23 | An Nguyen |
| 23-02 | Adding requests for more information, clarify existing request | 07/05/23 | Frona Wilson |
| 23-03 | Correct revision date on first page which was incorrect on last revision | 07/10/23 | Frona Wilson |
| 24-01 | Add section for Intended Patient Population. Add option for Breathing gas pathway, dry and contact with condensate. | 01/25/24 | Courtney Brummett |
| 24-02 | Add Part 18 in the title of the form for clarification. Update form number to 299a. | 03/15/24 | Courtney Brummett |
| 24-03 | Updated title to ISO 10993-18: Chemical Characterization Sample Submission Form. | 03/25/24 | Courtney Brummett |
| 25-01 | Reorganization of content, inclusion of further detail | 12/29/25 | Thomas Reynolds |